## Cover
Feasibility and design:
Site information gathering template
Should further information be required, please contact us at:
PSDecarbGuidance@es.catapult.org.uk
Licence and disclaimer
This document has been prepared by Energy Systems Catapult Limited (“ESC”) working on behalf of Department for Energy Security & Net Zero (“DESNZ”) and Government Property Function (“GPF”).
The document and its contents have been prepared in good faith, based upon the information available to ESC at the time of writing and are made available “as is” without any representations, conditions, warranties or other terms of any kind. The ESC and the authors, together with DESNZ, GPF, their employees, directors, servants or agents exclude to the maximum extent permissible by law all representations, warranties, conditions or other terms whatsoever (whether express or implied) regarding the use of this document or its content including any warranties of title, merchantability, accuracy, completeness, non-infringement or that the document or its contents are of satisfactory or any particular quality or fit for any particular purpose.
Any person accessing this document and using it, or any of its contents, is solely responsible for determining the appropriateness of any reliance put on it and assumes all risks in doing so.
All content of this document is copyright © 2023 Energy Systems Catapult Limited. The information in this document is the property of the ESC. You may copy, publish, distribute or otherwise transmit the information PROVIDED THAT you acknowledge that the information contains copyright information of the ESC and include the following acknowledgement “Information taken from Site information gathering template created by the Energy Systems Catapult Limited”.

## User Notes - Read Me
Feasibility and design:
Site information gathering template
Guidance
This template is an example of the ways to collate relevant site data as part of information gathering. It reflects all the useful information that could be gathered and has a colour coding to show the importance of some information against others, must have information required (red), the information that should be gathered (amber) and the information that is a nice to have if available (green). If amber and green data is not readily available assumptions can be made to enable decarbonisation planning however this will detract form the quality of the plan. This template is supported by additional documents linked to information gathering as part of the design and feasibility theme available on the Public Sector Decarbonisation Guidance website.
Tabs
Site Plan Referencing provides the opportunity to capture the relevant site data with existing referencing and building names. It can also be used as a building by building level summary of all relevant data. Please note that if your building is not homogeneous (has clearly defined areas with different ages or heating type), please breakdown the building per area and enter over separate rows with the required characteristics
Site Overview + Change provides space to record key site activities, key areas of land and areas of site change.
Energy Infrastructure can be used to record information on site gas and electricity networks, associated main meters and site level electricity generation and storage.
BMS + Metering can be used by to record site's control and metering, sub-metering / telemetry systems.
Energy Consumption Data can be used to record average annual energy consumption and identify what data is available.
Ventilation and Cooling can be used to record site level details for ventilation and cooling.
Organisation and Contracts can be used to record details of site organisational structures, energy related contracts and any energy related targets and ambitions the site has.
Should further information be required, please contact us at:
psdecarbguidance@es.catapult.org.uk

## Site Plan Referencing
Site Plan Referencing
Must
Should
Could
The Site Plan uses a reference system that has been designed to provide initial guidance to support recording and prioritising building level information (i.e., focusing on key buildings assessed due to size). This table provides the opportunity to capture the relevant export data for the concept design and techno-economic modelling activities, with existing referencing and building names.
Site Ref | Site/Building Name | Building Plan Area | Building Perimeter Length | Primary Use | Number of Storeys | Internal Area | Year Built | Planning constraints (please indicate type) | Wall Construction Type | Wall Retrofit Possible (Y/N) | Roof Angle | Roof Construction Type | Roof Retrofit Possible (Y/N) | Window Type | Heating System Capacity (kW) | Heating System Fuel Type | Heating System Controls | Heating System Age | Lighting Type | DHW Type | Ventilation System Type | Electricity Benchmark (kWh/m²/yr) | Fossil Energy Benchmark (kWh/m²/yr) | Building Electricity Usage (kWh/yr) | Building Fossil Energy Usage (kWh/yr) | Total Building Energy (kWh/yr)
Please show the positions of notable buildings on a site map.

## Site Overview + Change
Site Overview + Change
Must
Should
Could |  |  | Data Validation
Freehold
Information contained in this tab is to be transposed into the Site decarbonisation report example, i.e., visualising key site activities, key areas of land (and availability for use e.g. PV/Energy Centre) and areas of site change (expansion, contraction, re-allocation etc.) |  |  | Leasehold
No
Land | Value | Details (if applicable) | Unknown
Site access - are there any operational, security or health and safety issues that place restrictions on access to the site and energy assets? |  | e.g. visitor details required 24h in advance, 1h sign in process daily, sign out by 16:00, escort required for XX areas
Gross internal floor area (m²) | e.g. 82,000
Occupied floor area (m²) | e.g. 65,000
Site area (m²) | e.g. 100,000
Transport | Value | Details / Comments
Number of parking spaces - staff
Typical daily staff numbers -week day
Typical daily staff numbers -weekend day
Number of parking spaces - visitors
Typical daily visitor numbers -week day
Typical daily visitor numbers -weekend day
Number of fleet cars on site |  | provide typical use purposes as comments (e.g. on site movement, off-site deliveries / collections etc.)
Typical fleet car daily mileage |  | provide extra detail on spread of mileages as comment
Number of fleet vans on site |  | provide typical use purposes as comments (e.g. on site movement, off-site deliveries / collections etc.)
Typical fleet van daily mileage |  | provide extra detail on spread of mileages as comment
Number of fleet other vehicles on site |  | provide typical use purposes as comments (e.g. on site movement, off-site deliveries / collections etc.)
Typical fleet daily mileage for other vehicles |  | provide extra detail on spread of mileages as comment
Are any of the vehicles in the fleet electric/plug-in hybrid vehicles? |  | e.g. 2 company owned EVs used regularly for XX
Number of existing electric vehicle chargers?
If vehicle charging is available, is it site owned or 3rd party owned?
Future Site Plans | Value | Details / Comments
The nature and timeframe for all scheduled and anticipated changes to the site
Expansions and construction projects |  | e.g. new XX m2 accommodation block for 300 cadets to be located adjacent to XX building, construction scheduled 2021-22
Contractions and demolitions |  | e.g. floor area to be demolished with building references
Changes of function, utilisation, operating hours |  | e.g. main gym conversion to offices planned for 2023
Changes in occupancy numbers |  | e.g. 50 additional cadets per annum 2021-26
Significant investments / upgrades, installations and repairs of equipment |  | e.g. boiler replacement planned for XX building 2021
Expected remaining time at this site |  | e.g. indefinite
Any other notes
Unused and Temporary Equipment | Value | Details (if applicable)
Are there any unused energy assets on site? |  | e.g. gas boilers that are no longer operated
Is there any temporary / hired equipment on site? |  | E.g. generators, space heating equipment
Have there been any emergency interventions in the last 3 years due to unexpected plant failures? |  | Give details of plant failures etc. and actions taken to resolve

## Energy Infrastructure
Energy Infrastructure
Must
Should
Could |  |  | Data validation
Yes
This tab contains information on the site gas and electricity networks, associated main meters and site level electricity generation and storage (excluding CHP). Information contained in this tab is to be transposed into the Site decarbonisation report example. |  |  | No
Site Energy Infrastructure | Obtained? / Value | Details / Notes
Electrical
Local Distribution Network circuit including all connections to site
Is a single line diagram of the onsite electrical layout available? (or similar)
• Incoming capacity (MVA)
• Export capacity (MVA)
• Any current constraints?
• Cost of additional capacity (if known)
Gas
Is a single line diagram of gas network available? (or similar)
Heat
Is a single line diagram of heat network available? (or similar)
Provide age, condition, network type if applicable (e.g. steel pre-insulated and insulation series 2) and capacity of any heat plant on site
Heat type: Steam, MTHW, LTHW
Provide a high level description of the main aspects/components of the heating system on site, (e.g., LZC and peak / back up plant and thermal storage)
Power Generation and Storage (not CHP) | Technology | Power (MW) / Stored Energy (MWh) if applicable
Renewables Generation Plant 1
Renewables Generation Plant 1
Energy Storage Plant 1
Energy Storage Plant 2
Please show the positions of notable energy infrastructure on a site map.

## BMS + Metering
BMS + Metering |  |  | BMS and submetering
Must |  |  | Must
Should |  |  | Should
Could |  |  | Could
This tab provides a summary of the site's control and metering, sub-metering / telemetry systems. Information contained in this tab is to be transposed into the Site decarbonisation report example. Highlighting where systems are in use and working or no longer in use / broken etc. Meter specific information (if available) is to be recorded in the table on the right hand side. |  |  | This tab contains information on the meters available on site, record the site's control and metering, sub-metering / telemetry systems where available.
Metering | Obtained? / Value | Details / Notes | Meter reference ID (MPAN, MPRN, other) | Fuel | Fiscal meter? | Type | Building number served by the meter if it only serves one building | Building numbers served by the meter, if it serves more than one building | Does this meter serve part of a building? (in combination with other meters for the same fuel type) | If yes, which parts of the building are the meter served by?
Electricity: Site main meter?
Gas: Site main meter?
Other fuel: Site main meter?
Does the site have sub-metering?
• Number of sub-meters
• Percentage of load that is sub-metered
• Are sub-meters connected to the BMS?
• Do sub-meters have AMR?
• Are meters closed or open protocol? What licenses / permissions are required to access the data?
• Who is responsible for the sub-meters
What Building Management System (BMS) is installed onsite?
• Age of system? Are there plans to upgrade/renew the existing system?
• System manufacturer and type of equipment
• Is the system fully operational? If not, what is required to bring it back online?
• Is system operated internally or by a sub-contractor?
• What level of control does the BMS have?
• Are there any data/security constraints with the BMS?
• Who is responsible for the BMS? Does anyone check the data that is recorded? Who owns the data? (Provide contact details where relevant)
• What percentage of the site is covered by the BMS?

## Energy Consumption Data
Energy Consumption Data
Must
Should
Could
This tab to record average annual energy consumption and identify what data is available from site meters, sub-meters or BMS with links to data locations. Consumption of non-metered energy to be provided on a monthly basis if possible.
Energy Use | Meter reference ID | Demand | Data Available | Date Time Step
Electricity
Site Annual electricity consumption (kWh)
Site Annual electricity consumption - green energy tariff (kWh)
Site Annual electricity consumption - 3rd party owned (kWh)
Meter Annual Consumption (kWh)
Meter Annual Consumption (kWh)
Meter Annual Consumption (kWh)
Site Annual electricity generation (kWh)
Gas
Site annual gas consumption (kWh)
Meter Annual Consumption (kWh)
Meter Annual Consumption (kWh)
Meter Annual Consumption (kWh)
Other Fuels (if applicable)
Biomass: Site annual consumption (kWh)
Coal: Site annual consumption (kWh)
Diesel: Site annual consumption (kWh)
Oil: Site annual consumption (kWh)
Heat: Site annual consumption (kWh)
Hydrogen: Site annual consumption (kWh)
Petrol: Site annual consumption (kWh)
Hot Water
Hot water consumed (kWh)
Details of major energy using equipment or departments onsite (e.g. laundry, diagnostic scanners, server rooms, etc.) | Meter reference ID | Building Reference | Fuel | Annual Energy Consumption (kWh)

## Ventilation and Cooling
Ventilation and Cooling
Must
Should
Could
This tab is to record site level details for ventilation and cooling. Information for individual buildings to be entered in the Site Plan Referencing tab if applicable.
Ventilation and Cooling | Response | Details (if applicable)
Predominant site ventilation type | Central mechanical (e.g. ducted, AHUs) | e.g. natural only in XX buildings
Predominant site cooling type | Centralised (building-wide) | e.g. mostly centralised but individual DX units in XX buildings
Control adequate and set appropriately? | No | e.g. controls in override mode, could add occupancy detection
Obvious energy management opportunities | Yes | e.g. ventilation oversized, no longer needed in this zone
Opportunities for energy saving interventions | Yes | e.g. install VSDs, zoning, heat recovery
Any other notes
Please show the positions of notable ventilation and cooling plant on a site map.

## Organisation and Contracts
Organisation and Contacts
Must
Should
Could
This tab is to record details of site organisational structures, energy related contracts and any energy related targets and ambitions the site has.
Responsibilities | Response | Value
Who owns the energy-related assets?
Who is responsible for their operation?
Who is responsible for maintenance?
Any other energy related contracts in place?
What organisation will be running energy asset related procurement processes, and how does this process work?
Who pays the current energy bills?
Stakeholders identified as critical for energy projects on site
Time left on existing contracts
Any other stakeholder notes
Current management | Response | Value
Site stakeholder priorities (e.g. better comfort, resilience, reducing bills)
Existing "wish list" for energy projects?
Existing site/organisational targets, policies and initiatives around carbon and energy
Current problems and complaints with energy systems on site
Existing energy performance and maintenance contracts, or any other energy-related contracts, and details on break points
Do current contractual arrangements restrict operations?
Site / organisation criteria for selecting energy project investments
Any previous energy projects or initiatives carried out (successfully or not)?
Any Private Finance Initiative funding?
Notes on budget constraints
Notes on risk appetite
Notes on planning cycles
Has the site engaged with the local community regarding energy generation, management and use? E.g. links to local community energy projects
Any other notes on site stakeholder views, buy-in, and attitudes towards MEP and energy?

## Version Control
Version Control
Version Number | Date Produced | Owner Initials | Key Changes
1 | 2022-03-06 | MA | Initial Release
2 | 2023-02-01 | DT | Updated re PSDG webpages

## Lists (hidden)
Use Category | Heating System All Option | Fuel | Fuels | Fabric Options | Lighting | Building Regulations | Wall Construction Type | Roof Construction Type | Roof Angle | Window Type | Aircon | Ventilation | Choice | Lights | Door Type | Aircon Controls | Energy Generation | Storage | Energy Use | Hot Water | Time Step | Meter type | DHWType
Cafes | ASHP_EXISTING | Electricity | Biomass | Air conditioning and cooling | Halogen |  | Concrete Frame | EPDM | Flat | Single Glazed | Centralised (building-wide) | Air Conditioning | Yes | Internal | Solid Pedestrian | Central | CHP | Battery | Catering | Instant Local | Annual | Datalogger | Main Heating System
Clubs & Community centres | ASHP_NEW_BUILD | Electricity | Coal | Building fabric | High Intensity Mercury | Pre 1985 | Light Gauge Steel Frame | Masonry | Low Slope | Double Glazed | Decentralised (units serving individual rooms) | Mechanical Central | No | External | Glazed Pedestrian | Local | Solar PV | Heat Storage | Compressors | Tank Local | Monthly | Clip-on | Gas Calorifier
Cold stores | BIOMASSBOILER_EXISTING | Biomass | Diesel | Building instrumentation and control | High Intensity Metal Halide | 1985 | Masonry Cavity | Metal | Pitched | Triple Glazed | None | Mechanical Local |  |  | Folding | Part of BMS | Solar Thermal |  | EV charging | Site Provided | Weekly |  | Electric Calorifier
Fire and Ambulance station | BIOMASSBOILER_NEW_BUILD | Biomass | Electricity | Building services distribution systems | High Intensity Sodium | 1995 | Masonry Solid | PVC |  |  |  | Natural |  |  | PVC Strip |  |  |  | IT |  | Daily |  | Electric Point of Use
Hairdressers & beauty salons | DIRECTELECPANELHEATER_EXISTING | Electricity | Fuel Oil | Carbon and Energy Management | Incandescent | 2002 | Steel Frame | TPO | [6 empty] | Roller |  |  |  | Other |  | Hourly
Health centres | DIRECTELECPANELHEATER_NEW_BUILD | Electricity | Gas | Cooled storage | LED Cluster Lamp | 2006 | Timber Frame | [7 empty] | Sliding |  |  |  | Traing Equipment |  | Half hourly
Higher Education - accommodation | ELEC_DIRECT_EXISTING | Electricity | Gas Oil | Hot water | LED tube | 2010
Higher Education - teaching & research | ELEC_DIRECT_NEW_BUILD | Electricity | Heat | Humidification | Sodium Bulb | 2013
Hospital | GAS_WETBOILER_EXISTING | Gas | Hydrogen | Lighting | T12 flourescent
Hotel | GAS_WETBOILER_NEW_BUILD | Gas | Petrol | Small appliances | T5 flourescent
Large distribution warehouses | GSHP_EXISTING | Electricity |  | Space heating | T8 flourescent
Large food shops | GSHP_NEW_BUILD | Electricity |  | Swimming pools
Large non-food shops | HEAT NETWORK | Heat |  | Ventilation / Fans
Law court | HYDROGEN_WETBOILER | Hydrogen |  | None
Leisure centres | STORAGEHEATER_EXISTING | Electricity
Military accommodation | STORAGEHEATER_NEW_BUILD | Electricity
Military offices | NO HEATING
Military storage
Museums
Nurseries
Nursing Homes
Office
Offices (public)
Places of worship
Police station
Prison
Pubs
Restaurants & takeaways
Retail warehouse
Showrooms
Small shops
State Primary school
State Secondary school
Stores
Theatres
Warehouses
Workshop

## Fuels (hidden)
Source for fuel properties: MEP Economic Model
Fuel | Unit | Conversion | In defined Units 2018 | In defined Units 2037 | 2018 Carbon kgCO2e/kWh | 2037 Carbon kgCO2e/kWh
Gas | kg CO2e/KWh | 1 | 0.18385 | 0.18385 | 0.18385 | 0.18385
Electricity | kg CO2e/KWh | 1 | 0.313 | 0.057 | 0.313 | 0.057
Fuel Oil | kg CO2e/ltr | 11.294 | 3.1797 | 3.1797 | 0.28154 | 0.28154
Gas Oil | kg CO2e/ltr | 10.742 | 2.5431 | 2.5431 | 0.23674 | 0.23674
Petrol | kg CO2e/ltr | 12.183 | 2.209 | 2.209 | 0.18132 | 0.18132
Diesel | kg CO2e/ltr | 10.604 | 2.687 | 2.687 | 0.25339 | 0.25339
Coal | kg CO2e/tne | 7961 | 2744.72 | 2744.72 | 0.34477 | 0.34477
Biomass | kg CO2e/KWh | 1 |  |  | 0.01506 | 0.01506 | This data from: https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2019
Heat | kg CO2e/KWh | 1 | 0.091925 | 0.091925 | 0.091925 | 0.091925
Hydrogen | kg CO2e/KWh | 1 |  |  | 0 | 0
Note on F11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wood Pellets
Note on G11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wood Pellets