## Introduction
Template Solar for Businesses
West Suffolk and Portsmouth Councils both run projects in which the Councils install solar panels on business roofs and sell the electricity back to the business via PPA.
This workbook explores the economic model for a version of these projects at the Hull and East Yorkshire Local/Combined Authorities. It should be largely replicable for other LAs/CAs.
The example pilot phase in this workbook is based on 10 businesses signing up to the project - three small, three medium, three large, and one very large buildings.
This workbook represents the 'Core Model'. Variations of this workbook should be developed to assess key sensitivities.
This workbook is not designed to be a full and final financial model. A further workbook will be required at a later date considering more detailed factors such as loan repayments and inflation.

## Inputs
Input | Unit | Quantity | Notes
Number of small businesses | Number | 3 | User input for hypothetical bunch - small shops, cafes, single office buildings
Number of medium businesses | Number | 3 | User input for hypothetical bunch - midsize shops, multi-unit offices, pubs
Number of large businesses | Number | 3 | User input for hypothetical bunch - large retail centres, warehouses, manufacturing units
Number of very large businesses | Number | 1 | User input for hypothetical bunch - larger warehouses, distribution centres, industrial facilities
Small Business solar potential | kWp | 15 | Based on c.150 metres squared
Medium Business solar potential | kWp | 35 | Based on c.500 metres squared
Large Business solar potential | kWp | 100 | Based on c.1500 metres squared
Very Large Business solar potential | kWp | 200 | Based on c.4500 metres squared
Annual solar output | kWh/kWp | 850 | Standard assumption within industry
Annual solar degredation | % | 0.5 | Standard assumption within industry, Locogen use 0.4
Solar panel cost | £/kWp | 1000 | Standard assumption within industry
Inverter replacement cost | £/kWp | 30 | Locogen model, to apply at year 13
Small Business scaffold cost | £/building | 0 | Included in standard solar panel costs
Medium Business scaffold cost | £/building | 0 | Included in standard solar panel costs
Large Business scaffold cost | £/building | 0 | Included in standard solar panel costs
Very Large Business scaffold cost | £/building | 0 | Included in standard solar panel costs
Small Business structural survey cost | £/building | 1000 | ALtass Consulting refined
Medium Business structural survey cost | £/building | 1750 | ALtass Consulting refined
Large Business structural survey cost | £/building | 3000 | ALtass Consulting refined
Very Large Business structural survey cost | £/building | 6000 | ALtass Consulting refined
Operation and maintenance cost | £/kWp | 10 | Advice from consultants (£30 from ALtass but this includes admin, £10 from Scene Connect); Portsmouth have this at £4.28
Ongoing billing time | hrs/yr | 8 | 2 hours per quarter
Ongoing billing cost | £/hr | 33 | Roughly the Regional PM cost
Ongoing management time | hrs/yr | 32 | 8 hours per quarter
Ongoing management cost | £/hr | 33 | Roughly the Regional PM cost
Decommissioning cost | £/kWp | 300 | Locogen model; large uncertainty on this. US National Renewable Energy Lab suggest $300-$440/kW
Start-up management time | hrs/yr | 80 | 8 hours per building, as per advice from HBEES project
Start-up management cost | £/yr | 33 | Roughly the Regional PM cost
Start-up finance time | hrs/yr | 40 | 4 hours per building
Start-up finance cost | £/yr | 33 | Roughly the Regional PM cost
Start-up legal time | hrs/yr | 40 | 4 hours per building
Start-up legal cost | £/yr | 33 | Roughly the Regional PM cost
Start-up procurement time | hrs/yr | 40 | 4 hours per building
Start-up procurement cost | £/yr | 33 | Roughly the Regional PM cost
Business electricity cost | p/kWh | 25 | Typical costs July 2026
Electricity sale discount | % | 25
Electricity use on-site | % | 60 | 60-70% range is normal
Business occupancy | % | 100
Sale to grid price | p/kWh | 6
Carbon Factor | tCO2e/kWh | 0.00020705 | https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2024
Discount rate |  | 0.035 | UK Green Book

## Calculations
Year
Calculation | Notes | Unit | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Ongoing Billing costs | Ongoing billing time x ongoing billing cost | £ |  | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264 | 264
Ongoing Management costs | Ongoing management time x ongoing management cost | £ |  | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056 | 1056
Start-up Management costs | start-up management time x cost | £ | Year 0: 2640
Start-up finance costs | start-up finance time x cost | £ | Year 0: 1320
Start-up legal costs | start-up legal time x costs | £ | Year 0: 1320
Start-up procurement costs | start-up procurement time x costs | £ | Year 0: 1320
Business electricity price | Business Energy price | £/kWh |  | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
PPA charge | Business Energy price * discount rate | £/kWh |  | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875 | 0.1875
Small Businesses kWp Total | Number of businesses x kWp per business | kWp | Year 0: 45
Small Businesses kWh max | Total kWp x kWh per kWp | kWh | Year 0: 38250
Small Businesses kWh generated | kWh max x degredation | kWh |  | 38250 | 38058.75 | 37868.4563 | 37679.114 | 37490.7184 | 37303.2648 | 37116.7485 | 36931.1647 | 36746.5089 | 36562.7764 | 36379.9625 | 36198.0627 | 36017.0724 | 35836.987 | 35657.8021 | 35479.5131 | 35302.1155 | 35125.6049 | 34949.9769 | 34775.227 | 34601.3509 | 34428.3441 | 34256.2024 | 34084.9214 | 33914.4968
Small Businesses kWh on site | kWh generated x on-site percentage x business occupancy | kWh |  | 22950 | 22835.25 | 22721.0737 | 22607.4684 | 22494.431 | 22381.9589 | 22270.0491 | 22158.6988 | 22047.9054 | 21937.6658 | 21827.9775 | 21718.8376 | 21610.2434 | 21502.1922 | 21394.6812 | 21287.7078 | 21181.2693 | 21075.3629 | 20969.9861 | 20865.1362 | 20760.8105 | 20657.0065 | 20553.7214 | 20450.9528 | 20348.6981
Small Businesses kWh to grid | kWh generated - on-site usage | kWh |  | 15300 | 15223.5 | 15147.3825 | 15071.6456 | 14996.2874 | 14921.3059 | 14846.6994 | 14772.4659 | 14698.6036 | 14625.1105 | 14551.985 | 14479.2251 | 14406.8289 | 14334.7948 | 14263.1208 | 14191.8052 | 14120.8462 | 14050.242 | 13979.9908 | 13910.0908 | 13840.5403 | 13771.3376 | 13702.481 | 13633.9686 | 13565.7987
Small Businesses on-site income | kWh on site x PPA charge | £ |  | 4303.125 | 4281.6094 | 4260.2013 | 4238.9003 | 4217.7058 | 4196.6173 | 4175.6342 | 4154.756 | 4133.9823 | 4113.3123 | 4092.7458 | 4072.2821 | 4051.9206 | 4031.661 | 4011.5027 | 3991.4452 | 3971.488 | 3951.6306 | 3931.8724 | 3912.213 | 3892.652 | 3873.1887 | 3853.8228 | 3834.5537 | 3815.3809
Small Businesses grid income | kWh to grid x grid price | £ |  | 918 | 913.41 | 908.843 | 904.2987 | 899.7772 | 895.2784 | 890.802 | 886.348 | 881.9162 | 877.5066 | 873.1191 | 868.7535 | 864.4097 | 860.0877 | 855.7872 | 851.5083 | 847.2508 | 843.0145 | 838.7994 | 834.6054 | 830.4324 | 826.2803 | 822.1489 | 818.0381 | 813.9479
Small Businesses total income | on-site income + grid income | £ |  | 5221.125 | 5195.0194 | 5169.0443 | 5143.1991 | 5117.4831 | 5091.8956 | 5066.4362 | 5041.104 | 5015.8985 | 4990.819 | 4965.8649 | 4941.0356 | 4916.3304 | 4891.7487 | 4867.29 | 4842.9535 | 4818.7388 | 4794.6451 | 4770.6718 | 4746.8185 | 4723.0844 | 4699.469 | 4675.9716 | 4652.5918 | 4629.3288
Small Businesses CO2e saving | kWh generated x carbon factor | tCO2e |  | 7.9197 | 7.8801 | 7.8407 | 7.8015 | 7.7625 | 7.7236 | 7.685 | 7.6466 | 7.6084 | 7.5703 | 7.5325 | 7.4948 | 7.4573 | 7.42 | 7.3829 | 7.346 | 7.3093 | 7.2728 | 7.2364 | 7.2002 | 7.1642 | 7.1284 | 7.0927 | 7.0573 | 7.022
Small Businesses electricity counterfactual | kWh on site x electricity price | £ |  | 5737.5 | 5708.8125 | 5680.2684 | 5651.8671 | 5623.6078 | 5595.4897 | 5567.5123 | 5539.6747 | 5511.9763 | 5484.4165 | 5456.9944 | 5429.7094 | 5402.5609 | 5375.5481 | 5348.6703 | 5321.927 | 5295.3173 | 5268.8407 | 5242.4965 | 5216.2841 | 5190.2026 | 5164.2516 | 5138.4304 | 5112.7382 | 5087.1745
Small Businesses tenant savings | Counterfactual - on-site income | £ |  | 1434.375 | 1427.2031 | 1420.0671 | 1412.9668 | 1405.9019 | 1398.8724 | 1391.8781 | 1384.9187 | 1377.9941 | 1371.1041 | 1364.2486 | 1357.4274 | 1350.6402 | 1343.887 | 1337.1676 | 1330.4817 | 1323.8293 | 1317.2102 | 1310.6241 | 1304.071 | 1297.5507 | 1291.0629 | 1284.6076 | 1278.1846 | 1271.7936
Small Businesses Solar Panel cost total | Solar panel cost x kWp total | £ | Year 0: 45000
Small Businesses inverter replacement cost total | Inverter replacement cost x kWp total | £ | Year 13: 1350
Small Businesses scaffolding cost | scaffolding cost x kWp | £ | Year 0: 0
Small Businesses structural survey cost | structural survey x number of businesses | £ | Year 0: 3000
Small Businesses O&M costs | O&M costs x kWp | £ |  | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
Small Businesses decommissioning cost | decommissioning cost x kWp | £ | Year 25: 13500
Small Businesses total cost | Solar panel + scaffold + survey + O&M + decomissioning | £ | 48000 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 1800 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 13950
Medium Businesses kWp Total | Number of businesses x kWp per business | kWp | Year 0: 105
Medium Businesses kWh max | Total kWp x kWh per kWp | kWh | Year 0: 89250
Medium Businesses kW/h generated | kWh max x degredation | kWh |  | 89250 | 88803.75 | 88359.7312 | 87917.9326 | 87478.3429 | 87040.9512 | 86605.7465 | 86172.7177 | 85741.8541 | 85313.1449 | 84886.5791 | 84462.1462 | 84039.8355 | 83619.6363 | 83201.5382 | 82785.5305 | 82371.6028 | 81959.7448 | 81549.9461 | 81142.1963 | 80736.4854 | 80332.8029 | 79931.1389 | 79531.4832 | 79133.8258
Medium Businesses kW/h on site | kWh generated x on-site percentage x business occupancy | kWh |  | 53550 | 53282.25 | 53015.8387 | 52750.7596 | 52487.0058 | 52224.5707 | 51963.4479 | 51703.6306 | 51445.1125 | 51187.8869 | 50931.9475 | 50677.2877 | 50423.9013 | 50171.7818 | 49920.9229 | 49671.3183 | 49422.9617 | 49175.8469 | 48929.9676 | 48685.3178 | 48441.8912 | 48199.6818 | 47958.6834 | 47718.8899 | 47480.2955
Medium Businesses kW/h to grid | kWh generated - on-site usage | kWh |  | 35700 | 35521.5 | 35343.8925 | 35167.173 | 34991.3372 | 34816.3805 | 34642.2986 | 34469.0871 | 34296.7417 | 34125.2579 | 33954.6317 | 33784.8585 | 33615.9342 | 33447.8545 | 33280.6153 | 33114.2122 | 32948.6411 | 32783.8979 | 32619.9784 | 32456.8785 | 32294.5941 | 32133.1212 | 31972.4556 | 31812.5933 | 31653.5303
Medium Businesses on-site income | kWh on site x PPA charge | £ |  | 10040.625 | 9990.4219 | 9940.4698 | 9890.7674 | 9841.3136 | 9792.107 | 9743.1465 | 9694.4307 | 9645.9586 | 9597.7288 | 9549.7402 | 9501.9915 | 9454.4815 | 9407.2091 | 9360.173 | 9313.3722 | 9266.8053 | 9220.4713 | 9174.3689 | 9128.4971 | 9082.8546 | 9037.4403 | 8992.2531 | 8947.2919 | 8902.5554
Medium Businesses grid income | kWh to grid x grid price | £ |  | 2142 | 2131.29 | 2120.6336 | 2110.0304 | 2099.4802 | 2088.9828 | 2078.5379 | 2068.1452 | 2057.8045 | 2047.5155 | 2037.2779 | 2027.0915 | 2016.9561 | 2006.8713 | 1996.8369 | 1986.8527 | 1976.9185 | 1967.0339 | 1957.1987 | 1947.4127 | 1937.6756 | 1927.9873 | 1918.3473 | 1908.7556 | 1899.2118
Medium Businesses total income | on-site income + grid income | £ |  | 12182.625 | 12121.7119 | 12061.1033 | 12000.7978 | 11940.7938 | 11881.0898 | 11821.6844 | 11762.576 | 11703.7631 | 11645.2443 | 11587.0181 | 11529.083 | 11471.4375 | 11414.0804 | 11357.01 | 11300.2249 | 11243.7238 | 11187.5052 | 11131.5676 | 11075.9098 | 11020.5303 | 10965.4276 | 10910.6005 | 10856.0475 | 10801.7672
Medium Businesses CO2e saving | kWh generated x carbon factor | tCO2e |  | 18.4792 | 18.3868 | 18.2949 | 18.2034 | 18.1124 | 18.0218 | 17.9317 | 17.8421 | 17.7529 | 17.6641 | 17.5758 | 17.4879 | 17.4004 | 17.3134 | 17.2269 | 17.1407 | 17.055 | 16.9698 | 16.8849 | 16.8005 | 16.7165 | 16.6329 | 16.5497 | 16.467 | 16.3847
Medium Businesses electricity counterfactual | kWh on site x electricity price | £ |  | 13387.5 | 13320.5625 | 13253.9597 | 13187.6899 | 13121.7514 | 13056.1427 | 12990.862 | 12925.9077 | 12861.2781 | 12796.9717 | 12732.9869 | 12669.3219 | 12605.9753 | 12542.9455 | 12480.2307 | 12417.8296 | 12355.7404 | 12293.9617 | 12232.4919 | 12171.3295 | 12110.4728 | 12049.9204 | 11989.6708 | 11929.7225 | 11870.0739
Medium Businesses tenant savings | Counterfactual - on-site income | £ |  | 3346.875 | 3330.1406 | 3313.4899 | 3296.9225 | 3280.4379 | 3264.0357 | 3247.7155 | 3231.4769 | 3215.3195 | 3199.2429 | 3183.2467 | 3167.3305 | 3151.4938 | 3135.7364 | 3120.0577 | 3104.4574 | 3088.9351 | 3073.4904 | 3058.123 | 3042.8324 | 3027.6182 | 3012.4801 | 2997.4177 | 2982.4306 | 2967.5185
Medium Businesses Solar Panel cost total | Solar panel cost x kWp total | £ | Year 0: 105000
Medium Businesses inverter replacement cost total | solar panel cost total x inverter % value | £ | Year 13: 3150
Medium Businesses scaffolding cost | scaffolding cost x kWp | £ | Year 0: 0
Medium Businesses structural survey cost | structural survey x number of businesses | £ | Year 0: 5250
Medium Businesses O&M costs | O&M costs x kWp | £ |  | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Medium Businesses decommissioning cost | decommissioning cost x kWp | £ | Year 25: 31500
Medium Businesses total cost | Solar panel + scaffold + survey + O&M + decomissioning | £ | 110250 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 4200 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 32550
Large Businesses kWp Total | Number of businesses x kWp per business | kWp | Year 0: 300
Large Businesses kWh max | Total kWp x kWh per kWp | kWh | Year 0: 255000
Large Businesses kW/h generated | kWh max x degredation | kWh |  | 255000 | 253725 | 252456.375 | 251194.0931 | 249938.1227 | 248688.432 | 247444.9899 | 246207.7649 | 244976.7261 | 243751.8425 | 242533.0833 | 241320.4179 | 240113.8158 | 238913.2467 | 237718.6805 | 236530.087 | 235347.4366 | 234170.6994 | 232999.8459 | 231834.8467 | 230675.6725 | 229522.2941 | 228374.6826 | 227232.8092 | 226096.6452
Large Businesses kW/h on site | kWh generated x on-site percentage x business occupancy | kWh |  | 153000 | 152235 | 151473.825 | 150716.4559 | 149962.8736 | 149213.0592 | 148466.9939 | 147724.659 | 146986.0357 | 146251.1055 | 145519.85 | 144792.2507 | 144068.2895 | 143347.948 | 142631.2083 | 141918.0522 | 141208.462 | 140502.4197 | 139799.9076 | 139100.908 | 138405.4035 | 137713.3765 | 137024.8096 | 136339.6855 | 135657.9871
Large Businesses kW/h to grid | kWh generated - on-site usage | kWh |  | 102000 | 101490 | 100982.55 | 100477.6372 | 99975.2491 | 99475.3728 | 98977.996 | 98483.106 | 97990.6904 | 97500.737 | 97013.2333 | 96528.1671 | 96045.5263 | 95565.2987 | 95087.4722 | 94612.0348 | 94138.9746 | 93668.2798 | 93199.9384 | 92733.9387 | 92270.269 | 91808.9176 | 91349.8731 | 90893.1237 | 90438.6581
Large Businesses on-site income | kWh on site x PPA charge | £ |  | 28687.5 | 28544.0625 | 28401.3422 | 28259.3355 | 28118.0388 | 27977.4486 | 27837.5614 | 27698.3736 | 27559.8817 | 27422.0823 | 27284.9719 | 27148.547 | 27012.8043 | 26877.7403 | 26743.3516 | 26609.6348 | 26476.5866 | 26344.2037 | 26212.4827 | 26081.4203 | 25951.0132 | 25821.2581 | 25692.1518 | 25563.691 | 25435.8726
Large Businesses grid income | kWh to grid x grid price | £ |  | 6120 | 6089.4 | 6058.953 | 6028.6582 | 5998.5149 | 5968.5224 | 5938.6798 | 5908.9864 | 5879.4414 | 5850.0442 | 5820.794 | 5791.69 | 5762.7316 | 5733.9179 | 5705.2483 | 5676.7221 | 5648.3385 | 5620.0968 | 5591.9963 | 5564.0363 | 5536.2161 | 5508.5351 | 5480.9924 | 5453.5874 | 5426.3195
Large Businesses total income | on-site income + grid income | £ |  | 34807.5 | 34633.4625 | 34460.2952 | 34287.9937 | 34116.5537 | 33945.971 | 33776.2411 | 33607.3599 | 33439.3231 | 33272.1265 | 33105.7659 | 32940.237 | 32775.5359 | 32611.6582 | 32448.5999 | 32286.3569 | 32124.9251 | 31964.3005 | 31804.479 | 31645.4566 | 31487.2293 | 31329.7931 | 31173.1442 | 31017.2785 | 30862.1921
Large Businesses CO2e saving | kWh generated x carbon factor | tCO2e |  | 52.7978 | 52.5338 | 52.2711 | 52.0097 | 51.7497 | 51.4909 | 51.2335 | 50.9773 | 50.7224 | 50.4688 | 50.2165 | 49.9654 | 49.7156 | 49.467 | 49.2197 | 48.9736 | 48.7287 | 48.485 | 48.2426 | 48.0014 | 47.7614 | 47.5226 | 47.285 | 47.0486 | 46.8133
Large Businesses electricity counterfactual | kWh on site x electricity price | £ |  | 38250 | 38058.75 | 37868.4562 | 37679.114 | 37490.7184 | 37303.2648 | 37116.7485 | 36931.1647 | 36746.5089 | 36562.7764 | 36379.9625 | 36198.0627 | 36017.0724 | 35836.987 | 35657.8021 | 35479.5131 | 35302.1155 | 35125.6049 | 34949.9769 | 34775.227 | 34601.3509 | 34428.3441 | 34256.2024 | 34084.9214 | 33914.4968
Large Businesses tenant savings | Counterfactual - on-site income | £ |  | 9562.5 | 9514.6875 | 9467.1141 | 9419.7785 | 9372.6796 | 9325.8162 | 9279.1871 | 9232.7912 | 9186.6272 | 9140.6941 | 9094.9906 | 9049.5157 | 9004.2681 | 8959.2468 | 8914.4505 | 8869.8783 | 8825.5289 | 8781.4012 | 8737.4942 | 8693.8068 | 8650.3377 | 8607.086 | 8564.0506 | 8521.2303 | 8478.6242
Large Businesses Solar Panel cost total | Solar panel cost x kWp total | £ | Year 0: 300000
Large Businesses inverter replacement cost total | solar panel cost total x inverter % value | £ | Year 13: 9000
Large Businesses scaffolding cost | scaffolding cost x kWp | £ | Year 0: 0
Large Businesses structural survey cost | structural survey x number of businesses | £ | Year 0: 3000
Large Businesses O&M costs | O&M costs x kWp | £ |  | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
Large Businesses decommissioning cost | decommissioning cost x kWp | £ | Year 25: 90000
Large Businesses total cost | Solar panel + scaffold + survey + O&M + decomissioning | £ | 303000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 12000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 93000
Very Large Businesses kWp Total | Number of businesses x kWp per business | kWp | Year 0: 200
Very Large Businesses kWh max | Total kWp x kWh per kWp | kWh | Year 0: 170000
Very Large Businesses kW/h generated | kWh max x degredation | kWh |  | 170000 | 169150 | 168304.25 | 167462.7288 | 166625.4151 | 165792.288 | 164963.3266 | 164138.51 | 163317.8174 | 162501.2283 | 161688.7222 | 160880.2786 | 160075.8772 | 159275.4978 | 158479.1203 | 157686.7247 | 156898.2911 | 156113.7996 | 155333.2306 | 154556.5645 | 153783.7816 | 153014.8627 | 152249.7884 | 151488.5395 | 150731.0968
Very Large Businesses kW/h on site | kWh generated x on-site percentage x business occupancy | kWh |  | 102000 | 101490 | 100982.55 | 100477.6372 | 99975.2491 | 99475.3728 | 98977.996 | 98483.106 | 97990.6904 | 97500.737 | 97013.2333 | 96528.1671 | 96045.5263 | 95565.2987 | 95087.4722 | 94612.0348 | 94138.9746 | 93668.2798 | 93199.9384 | 92733.9387 | 92270.269 | 91808.9176 | 91349.8731 | 90893.1237 | 90438.6581
Very Large Businesses kW/h to grid | kWh generated - on-site usage | kWh |  | 68000 | 67660 | 67321.7 | 66985.0915 | 66650.166 | 66316.9152 | 65985.3306 | 65655.404 | 65327.127 | 65000.4913 | 64675.4889 | 64352.1114 | 64030.3509 | 63710.1991 | 63391.6481 | 63074.6899 | 62759.3164 | 62445.5198 | 62133.2922 | 61822.6258 | 61513.5127 | 61205.9451 | 60899.9154 | 60595.4158 | 60292.4387
Very Large Businesses on-site income | kWh on site x PPA charge | £ |  | 19125 | 19029.375 | 18934.2281 | 18839.557 | 18745.3592 | 18651.6324 | 18558.3742 | 18465.5824 | 18373.2545 | 18281.3882 | 18189.9812 | 18099.0313 | 18008.5362 | 17918.4935 | 17828.901 | 17739.7565 | 17651.0577 | 17562.8025 | 17474.9884 | 17387.6135 | 17300.6754 | 17214.1721 | 17128.1012 | 17042.4607 | 16957.2484
Very Large Businesses grid income | kWh to grid x grid price | £ |  | 4080 | 4059.6 | 4039.302 | 4019.1055 | 3999.01 | 3979.0149 | 3959.1198 | 3939.3242 | 3919.6276 | 3900.0295 | 3880.5293 | 3861.1267 | 3841.8211 | 3822.6119 | 3803.4989 | 3784.4814 | 3765.559 | 3746.7312 | 3727.9975 | 3709.3575 | 3690.8108 | 3672.3567 | 3653.9949 | 3635.7249 | 3617.5463
Very Large Businesses total income | on-site income + grid income | £ |  | 23205 | 23088.975 | 22973.5301 | 22858.6625 | 22744.3692 | 22630.6473 | 22517.4941 | 22404.9066 | 22292.8821 | 22181.4177 | 22070.5106 | 21960.158 | 21850.3572 | 21741.1054 | 21632.3999 | 21524.2379 | 21416.6167 | 21309.5336 | 21202.986 | 21096.9711 | 20991.4862 | 20886.5288 | 20782.0961 | 20678.1856 | 20574.7947
Very Large Businesses CO2e saving | kWh generated x carbon factor | tCO2e |  | 35.1985 | 35.0225 | 34.8474 | 34.6732 | 34.4998 | 34.3273 | 34.1557 | 33.9849 | 33.815 | 33.6459 | 33.4776 | 33.3103 | 33.1437 | 32.978 | 32.8131 | 32.649 | 32.4858 | 32.3234 | 32.1617 | 32.0009 | 31.8409 | 31.6817 | 31.5233 | 31.3657 | 31.2089
Very Large Businesses electricity counterfactual | kWh on site x electricity price | £ |  | 25500 | 25372.5 | 25245.6375 | 25119.4093 | 24993.8123 | 24868.8432 | 24744.499 | 24620.7765 | 24497.6726 | 24375.1842 | 24253.3083 | 24132.0418 | 24011.3816 | 23891.3247 | 23771.868 | 23653.0087 | 23534.7437 | 23417.0699 | 23299.9846 | 23183.4847 | 23067.5672 | 22952.2294 | 22837.4683 | 22723.2809 | 22609.6645
Very Large Businesses tenant savings | Counterfactual - on-site income | £ |  | 6375 | 6343.125 | 6311.4094 | 6279.8523 | 6248.4531 | 6217.2108 | 6186.1247 | 6155.1941 | 6124.4182 | 6093.7961 | 6063.3271 | 6033.0104 | 6002.8454 | 5972.8312 | 5942.967 | 5913.2522 | 5883.6859 | 5854.2675 | 5824.9961 | 5795.8712 | 5766.8918 | 5738.0574 | 5709.3671 | 5680.8202 | 5652.4161
Very Large Businesses Solar Panel cost total | Solar panel cost x kWp total | £ | Year 0: 200000
Very Large Businesses inverter replacement cost total | solar panel cost total x inverter % value | £ | Year 13: 6000
Very Large Businesses scaffolding cost | scaffolding cost x kWp | £ | Year 0: 0
Very Large Businesses structural survey cost | structural survey x number of businesses | £ | Year 0: 6000
Very Large Businesses O&M costs | O&M costs x kWp | £ |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
Very Large Businesses decommissioning cost | decommissioning cost x kWp | £ | Year 25: 60000
Very Large Businesses total cost | Solar panel + scaffold + survey + O&M + decomissioning | £ | 206000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 8000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 62000
Total tenant savings | sum all | £ |  | 20718.75 | 20615.1562 | 20512.0805 | 20409.5201 | 20307.4725 | 20205.9351 | 20104.9054 | 20004.3809 | 19904.359 | 19804.8372 | 19705.813 | 19607.284 | 19509.2475 | 19411.7013 | 19314.6428 | 19218.0696 | 19121.9792 | 19026.3693 | 18931.2375 | 18836.5813 | 18742.3984 | 18648.6864 | 18555.443 | 18462.6657 | 18370.3524
Total kWh generated | sum all | kWh |  | 552500 | 549737.5 | 546988.8125 | 544253.8684 | 541532.5991 | 538824.9361 | 536130.8114 | 533450.1574 | 530782.9066 | 528128.992 | 525488.3471 | 522860.9053 | 520246.6008 | 517645.3678 | 515057.141 | 512481.8553 | 509919.446 | 507369.8488 | 504832.9995 | 502308.8345 | 499797.2904 | 497298.3039 | 494811.8124 | 492337.7533 | 489876.0646
Total tCO2e savings | sum all | tCO2e |  | 114.3951 | 113.8231 | 113.254 | 112.6878 | 112.1243 | 111.5637 | 111.0059 | 110.4509 | 109.8986 | 109.3491 | 108.8024 | 108.2584 | 107.7171 | 107.1785 | 106.6426 | 106.1094 | 105.5788 | 105.0509 | 104.5257 | 104.003 | 103.483 | 102.9656 | 102.4508 | 101.9385 | 101.4288
Total PPA income | sum all | £ |  | 62156.25 | 61845.4688 | 61536.2414 | 61228.5602 | 60922.4174 | 60617.8053 | 60314.7163 | 60013.1427 | 59713.077 | 59414.5116 | 59117.439 | 58821.8519 | 58527.7426 | 58235.1039 | 57943.9284 | 57654.2087 | 57365.9377 | 57079.108 | 56793.7124 | 56509.7439 | 56227.1952 | 55946.0592 | 55666.3289 | 55387.9972 | 55111.0573
Total Grid Income | sum all | £ |  | 13260 | 13193.7 | 13127.7315 | 13062.0928 | 12996.7824 | 12931.7985 | 12867.1395 | 12802.8038 | 12738.7898 | 12675.0958 | 12611.7203 | 12548.6617 | 12485.9184 | 12423.4888 | 12361.3714 | 12299.5645 | 12238.0667 | 12176.8764 | 12115.992 | 12055.412 | 11995.135 | 11935.1593 | 11875.4835 | 11816.1061 | 11757.0255
GRAND TOTAL income | sum all | £ |  | 75416.25 | 75039.1687 | 74663.9729 | 74290.653 | 73919.1998 | 73549.6038 | 73181.8558 | 72815.9465 | 72451.8667 | 72089.6074 | 71729.1594 | 71370.5136 | 71013.661 | 70658.5927 | 70305.2997 | 69953.7732 | 69604.0044 | 69255.9844 | 68909.7044 | 68565.1559 | 68222.3301 | 67881.2185 | 67541.8124 | 67204.1033 | 66868.0828
Total Management costs | sum all | £ | 6600 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320
Total System costs | sum all | £ | 667250 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 26000 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500 | 201500
GRAND TOTAL costs | sum all | £ | 673850 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 27320 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 7820 | 202820
Annual Cashflow | income - costs | £ | -673850 | 67596.25 | 67219.1687 | 66843.9729 | 66470.653 | 66099.1998 | 65729.6038 | 65361.8558 | 64995.9465 | 64631.8667 | 64269.6074 | 63909.1594 | 63550.5136 | 43693.661 | 62838.5927 | 62485.2997 | 62133.7732 | 61784.0044 | 61435.9844 | 61089.7044 | 60745.1559 | 60402.3301 | 60061.2185 | 59721.8124 | 59384.1033 | -135951.9172
Accrued Cashflow | Net Spend cumulative | £ | -673850 | -606253.75 | -539034.5813 | -472190.6083 | -405719.9553 | -339620.7555 | -273891.1517 | -208529.296 | -143533.3495 | -78901.4828 | -14631.8753 | 49277.284 | 112827.7976 | 156521.4586 | 219360.0513 | 281845.3511 | 343979.1243 | 405763.1287 | 467199.1131 | 528288.8175 | 589033.9734 | 649436.3035 | 709497.522 | 769219.3344 | 828603.4377 | 692651.5205
Payback Fraction | Fraction Row |  | - | - | - | - | - | - | - | - | - | - | - | 0.22766 | 0.77105 | 1.7754 | 3.5822 | 3.4908 | 4.5106 | 5.5361 | 6.5674 | 7.6046 | 8.6478 | 9.6968 | 10.7518 | 11.8129 | 12.88 | 13.9533

## Outputs
Installed capacity | kWp | 650
Year 1 generation | kWh | 552500
Total generation | kWh | 13014663.1542
Year 1 carbon saving | tCO2e | 114.3951
Total carbon saving | tCO2e | 2694.686
Year 1 tenant saving | £ | 20718.75
Total tenant saving | £ | 488049.8683
Year 0 cost | £ | 673850
Year 1 return | £ | 75416.25
25 year IRR | % | 7.608%
25 year net profit | £ | 692651.5205
Net present value | £ | 274251.1522
Payback year |  | 10.2277